Uses of INDOST (granules)

for substitution of bone defects

(instruction for administration)

Preparations Round (or irregular shaped) granules of INDOST (granules) of white or close to white colour. Composition - 50% of hydroxyapatite and 50% of tricalcium phosphate. Contains composition of the growth factors.

The material is produced in granular form with the sizes of 0,25 mm - 2 mm. Granules are porous ceramic fragments.

INDOST (granules) is basis of inorganic hard tissues matrix. It has better human tissues biocompatibility and does not cause rejection reaction. It has osteoinductive effect. It intensifies osteogenesis, providing absorbtion on its surface intrinsic morphogenetic proteins of human being. After the bone cavity filling the material resorbs being substituted by osseous tissue.

Treatment The material is recommended for filling of small bone defects of different etiology after surgical treatment in cases of cystectomy, resection and extraction of  teeth, for prevention of alveolar process atrophy, etc.

Uses The material INDOST (granules) in granular form is moistened by the patient’s blood or better by the mixture of blood with bone marrow (on sterile physiologic solution) and by a surgical instrument is inserted into the osseous defect filling up to 70-80% of the cavity. Fresh bleeding may be caused by dental bur passing cortical layer of the bone. The defect is closed by soft tissues with stitching them not in immediate proximity to INDOST (granules).

Antibiotics, immunomodulators and other medicines can be applied with INDOST (granules) by impregnation before use.

Sterilization. Do not sterilize additionally.

# Contraindications

Pus inflammatory processes in the area with the defect planned for filling.

Proprietary preparations The product is available in 1 g (0,5g)  sterile packing.